{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["기기현황"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"기기현황","index":0,"n_rows":27,"n_cols":15,"rows_kept":27,"cut":false,"hidden":false,"merged":[[1,0,1,14]],"flags":["formulas_cached_only"]}
["(붙임1)"]
["아주대학교 건물별 기기현황"]
[{"$nulls":14},"2011.11기준"]
["건물명","메인\n컨트롤러","화재\n콘트롤러","게이트웨이","전원장치","라우터","로칼\n콘트롤러","출입\n컨트롤러","전기정","외부\n카드리더","EXIT 버튼","열선감지기","자석\n감지기","비상\n램프","운영장비"]
["율곡관",3,1,3,12,4,118,8,103,126,8,145,182,118,133]
["원천관",3,1,3,20,8,172,17,182,189,17,198,287,172,189]
["동관",1,1,1,5,2,42,6,40,48,6,50,64,42,48]
["서관",1,1,1,8,1,55,7,52,62,7,65,65,55,62]
["도서관",1,1,1,1,1,8,11,17,19,11,15,15,8,19]
["다산관",2,1,2,16,6,118,5,111,123,5,145,181,118,123]
["팔달관",3,1,3,25,10,185,8,178,193,8,225,294,185,193]
["산학협력원",3,1,3,30,10,177,10,129,187,10,176,232,177,187]
["종합관",3,1,3,35,8,131,13,123,144,13,208,236,131,147]
["성호관",1,1,1,8,2,64,5,53,69,5,90,134,64,69]
["학생회관(신,구)",1,1,1,5,0,36,13,31,49,13,25,27,36,49]
["토목실험동",1,1,1,2,0,12,1,13,13,1,15,26,12,13]
["종합설계동",1,1,1,2,0,6,1,6,7,1,10,20,6,7]
["에너지관",1,1,1,5,2,48,8,49,56,8,50,89,48,56]
["체육관",1,1,1,1,0,7,18,19,25,18,15,15,7,25]
["캠퍼스플라자",1,1,1,12,9,62,18,40,80,18,102,108,62,80]
["화공실험동",1,1,1,3,1,18,2,20,20,2,22,36,18,20]
["생활관",1,1,1,1,0,1,0,2,1,0,3,6,1,1]
["광교관",1,1,1,1,0,1,6,6,7,6,1,12,1,7]
["남제관",1,1,1,1,1,7,12,12,19,12,3,24,7,19]
["화홍관",1,1,1,1,1,2,7,8,9,7,1,26,2,9]
["용지관",1,1,1,1,1,10,7,7,14,7,1,24,10,17]
["합    계",33,22,33,195,67,1280,183,1201,1460,183,1565,2103,1280,1473]