{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["구매내역"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":2,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"구매내역","index":0,"n_rows":27,"n_cols":7,"rows_kept":27,"cut":false,"hidden":false,"merged":[[0,0,1,6],[47,20,48,20],[52,20,53,20],[67,20,68,20]],"flags":["formulas_cached_only"]}
["구매내역서"]
[]
["NO","도비도스품번","로얄품번","품  명","단위","수량","비 고"]
[1,"DC-102","RWC224","양변기(F/V)","EA",41,"6L"]
[2,"시트","RS101","양변기 시트","EA",41,"대형"]
[3,"FC110-A6","RCF100","양변기 FLUSH VALVE","EA",40,"25A"]
[4,"FC111","RCP200","양변기 스퍼트","EA",41,"25A"]
[5,"후렌치","RCP310","양변기 후렌치","EA",41,"정심"]
[6,"FC100-8","RCE200","양변기 FLUSH VALVE","EA",1,"센서형, 장애우용 "]
[7,"FC751LA","RSP500","L자 장애우 양변기손잡이","EA",2,"실버"]
[8,"FC751LA","RSP501","L자 장애우 양변기손잡이","EA",1,"실버"]
[9,"FC755","RSP530","양변기 가동식 손잡이","EA",1,"장애우용-실버"]
[10,"DL-601","RWL409-1H","카운터 세면기","EA",77,"6L"]
[11,"FL238-15C","RLP220","세면기 POP-UP","EA",77,"25A"]
[12,"FL222","RLP310","세면기 S-TRAP","EA",77,"25A"]
[13,"트랩패킹",84046,"트랩패킹","EA",77,"24A"]
[14,"FB030N","RFV301","세면기 앵글밸브","EA",154,"15A"]
[15,"FL3502C","RLSC10","세면기 수전","EA",40,"15A"]
[16,"FB0307C","RLSD60","겸용 세면기 수전","EA",37,"15A"]
[17,"DU-501","RWU100-E","감지식 소변기(전기식)","EA",58,"스톨형, 장애우용 1개 포함"]
[18,"FU771","RSP540","장애우 소변기손잡이","EA",1,"실버"]
[19,"FB2090NRC","RBT900","샤워기 수전(온도조절용)","EA",84,"15A"]
[20,"DS-101","RWS7","청소용 씽크(수채2구)","EA",14,"일반도기형"]
[21,"FS111X","RFV430","청소용 씽크 가로꼭지","EA",28,"20A"]
[22,"수채트랩","RLP350","청소용 씽크 수채트랩","EA",14,"일반형"]
[23,"FA250CS","RA363-A","샤워실 모퉁이 선반","EA",84,"삼각형"]
[{"$nulls":5},1031]